## Sheet1
Priority | Project Title | Project Description/Justification | Original Installation Date | Life Expectancy | Est Project Cost | Funding Source | Risk Factor | Budget Cycle
1 | HVAC Replacement | Cooling unit has met its end of life and required nearly $20,000 in repairs in 2014. | 1994 | 20 years | 65000 | City | Very High | FY 2015
2 | Fire Suppression Repair | Replacement of corroding branch lines of original dry system, phased over 4 years. | 1994 | 50+ years | 72000 | City | Very High | FY 2016-19
3 | Additional Wiring | Addition of power outlets in various locations where proven insufficient after construction and additional data lines in business center. | Not applicable | Not applicable | 5000 | Foundation | High | FY 2015
4 | Drinking Fountain/Spigot Installation | Installation of fountain in children's library and outdoor watering spigot on south side of building. Risk losing gardening volunteers if not completed. | Not applicable | Not applicable | 12000 | Foundation | High | FY 2015
5 | Exterior Sign Package | Signage at east end of building for increased exposure; street signage throughout town directing to library; book drop directional signage. | Not applicable | Not applicable | 5000 | Foundation | High | FY 2015
6 | Landscaping Upgrades | Installation and integration of new and old landscaping with native, drought tolerant plants that are consistent on both ends of the building. | 1995/2013 | Not applicable | 11500 | Friends | High | FY 2015
7 | Children's Fire Exit | Installation of an additional exit in the children's library. Current design is up to fire code, but staff and patrons feel unsafe with current layout. | Not applicable | Not applicable | 8500 | City | High | FY 2016
8 | Lobby/ Bidwell Room Renovation | Wall resurfacing and painting of lobby and Bidwell Room. Installation of wall mounted community boards per strategic plan initiatives. | 1994 | Not applicable | 15000 | Foundation | Med | FY 2016
9 | Technology Upgrades | Completion of technology upgrades that were planned during construction project but not implemented. | Not applicable | Not applicable | 7550 | Foundation | Med | FY 2016
10 | Teen Furnishings/Fixtures | Only basic FF&Es were installed during renovation. Now that a teen services position has been created, these amenities may be upgraded. | Not applicable | Not applicable | 5500 | Foundation | Med | FY 2017
11 | Lighting Replacement | Current lighting is expensive, time-consuming, and ineffective. Replacement to high-efficiency fixtures, phased over 5 years, jointly with Foundation. | 1994 | Not applicable | 110000 | City/ Foundation | Med | FY 2020-24
12 | Bathroom Renovation | Public restrooms were not remodeled during construction project, and current design is dated and mismatched to rest of library. | 1994 | Not applicable | 23000 | Foundation | Low | FY 2018
13 | Archives | The library has a significant local history collection. This project would provide appropriate storage for valuable items and documents. | Not applicable | Not applicable | 11400 | Foundation | Low | FY 2019
14 | Boiler Replacement | The back-up boiler is nearing the end of its life. | 2006 | 15 years | 16000 | City | Low | FY 2021